## Intro
UD-MP Cost |  |  | Workbook Protected
Worksheet Protected
Version 2.2
Urban Drainage and Flood Control District
Denver, Colorado
Purpose: | Aids in determining capital improvement and O&M costs for master planning.
Function: | 1. To provide consistent cost estimates for UDFCD master plans.
2. To develop item lists and associated costs.
3. To provide summary tables for incorporation into UDFCD master plans.
4. To calculate life cycle Operation and Maintenance Costs
5. To provide a Benefit Cost Analysis
Content: | This workbook consists of the following sheets:
Basic project data entry for use in cost estimation worksheets.
Provides index for all reaches in workbook with links to detailed cost estimates.
Summarizes capital improvement and O&M costs for each reach.
Summarizes capital improvement and O&M costs by jurisdiction.
Provides Benefit Cost Analysis
Provides unit cost data for 2012 Q1 and current year/quarter.
Workflow
Acknowledgements: | Spreadsheet Development Team:
Jeffrey W. Sickles, P.E. and Donald J. Jacobs, P.E.
Enginuity Engineering Solutions, LLC
Ken. A. MacKenzie, P.E., Shea Thomas, P.E., and Rich Borchardt, P.E.
Urban Drainage and Flood Control District
Derek N. Rapp, P.E.
Peak Stormwater Engineering, LLC
Comments | Direct all comments regarding this spreadsheet workbook to: | UDFCD E-Mail
Revisions | Check for revised versions of this or any other workbook at: | Downloads
Project Info
Reach Index
Jurisdiction Summary
Reach Summary
Cost Data
Benefit Cost Analysis

## Project Info
Project Info
[5 empty] | Worksheet Protected | 1
Project Name : | [5 empty] | 2
Estimator : | [5 empty] | 3
Date : | [5 empty] | 4
Project Drainageways : | Drainageway | Drainageway Abbreviation | Length | Number of
| Name | (Prefix for Reach ID) | (mi) | Reaches
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  | Totals : | 0 | 0
| Jurisdictions/Sponsors : | Jurisdiction
Construction Cost Index (CCI)
| CCI Base Year : | 2012
| CCI Base Quarter : | 1
| Base CCI : | 1
Most Recent CCI Year :
Most Recent CCI Quarter :
Most Recently Published CCI :
| Elapsed Time (years) : | 0
| Percentage Change in CCI : | 0%
Benefit Cost Analysis
Effective Interest Rate (%):
Note on D9: This abbreviation is used as a prefix to the Reach Number and creates a unique Reach ID. For example, South Platte River abbreviation could be SPR.
Note on D45: Effective Interest Rate is equal to the Discount Rate of borrowing money minus the loss of purchasing power due to the Inflation Rate for a project life of 50 years. (e.g. Interest Rate = 7.0% - 3.0% = 4.0%)
Note on D44: Effective Interest Rate is used to determine the Present Worth of O&M costs and damage potential estimates for a project life of 50 years.
Return to Intro
Click here for CDOT website with most recently published Construction Cost Index

## Reach Index
Reach Index
Worksheet Protected
Project Name : | Enter Project Name on Project Info Tab
Estimator : | Enter Estimator Name on Project Info Tab
Date : | Enter Date on Project Info Tab
Sheets : | Reach | Drainageway | Reach |  | Downstream | Upstream
| ID | Name | Number | Jurisdiction | Station | Station | Length
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
| 0 | [5 empty] | 0
Return to Intro

## Reach Summary
SUMMARY BY REACH
Worksheet Protected
Project Name : | Enter Project Name on Project Info Tab
Estimator : | Enter Estimator Name on Project Info Tab
Data : | Enter Date on Project Info Tab
REACH | CAPITAL | EASEMENT / ROW | ENGINEERING | LEGAL / ADMINISTRATIVE | CONTRACT ADMIN/CM | CONTINGENCY | TOTAL CAPITAL COST | ANNUAL O&M COST | 50-YEAR O&M COST
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Totals | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Return to Intro

## Jurisdiction Summary
SUMMARY BY JURISDICTION
Worksheet Protected
Project Name : | Enter Project Name on Project Info Tab
Estimator : | Enter Estimator Name on Project Info Tab
Date : | Enter Date on Project Info Tab
JURISDICTION | CAPITAL | EASEMENT / ROW | ENGINEERING | LEGAL / ADMINISTRATIVE | CONTRACT ADMIN/CM | CONTINGENCY | TOTAL CAPITAL COST | ANNUAL O&M COST | 50-YEAR O&M COST
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Totals | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Return to Intro

## Benefit Cost Analysis
BENEFIT COST ANALYSIS
[10 empty] | Worksheet Protected | Worksheet Unprotected
Project Name : | Enter Project Name on Project Info Tab
Estimator : | Enter Estimator Name on Project Info Tab
Data : | Enter Date on Project Info Tab
REACH | EXISTING REACH CONDITIONS |  |  | PROPOSED REACH CONDITIONS |  |  |  | TOTAL BENEFITS | BENEFIT / COST RATIO
| ANNUAL O&M COST | 50-YR O&M COST | EXISTING DAMAGES | TOTAL CAPITAL COST | 50-YEAR O&M COST | TOTAL COST | FUTURE DAMAGES
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
|  | 0 |  | 0 | 0 | 0 |  | 0 | 0
Note on C9: Provide current Operation and Maintenance costs for the existing infrastructure watershed conditions. This is an estimate of the O&M costs that would be required if no improvements were made to the drainageway.
Note on I9: Provide present worth flood damage cost estimates of the damage potential over 50 years for the future landuse / proposed infrastructure watershed conditions. Estimates shall include the reduction in damage potential resulting from improvements made, as well as indirect or intangible benefits where possible. The latest version of FEMA's Benefit Cost Analysis Tool can assist in damage cost calculations.
Note on E9: Provide present worth flood damage cost estimates of the damage potential over 50 years for the future landuse / existing infrastructure watershed conditions. Estimates shall include indirect or intangible damages where possible. The latest version of FEMA's Benefit Cost Analysis Tool can assist in damage cost calculations.
Note on D9: Calculates present worth Operation and Maintenance costs over 50 years for the existing infrastructure watershed conditions.
Return to Intro

## Cost Data
Cost Data
Worksheet Protected
|  | Unit Cost | Adjusted Unit Cost
Item | Unit | 2012 Q1 | Q | Validation
Circular Pipes |  |  |  | Yes
12 | L.F. | 36 | 0 | No
18 | L.F. | 54 | 0
24 | L.F. | 72 | 0
30 | L.F. | 90 | 0
36 | L.F. | 108 | 0
42 | L.F. | 126 | 0
48 | L.F. | 144 | 0
54 | L.F. | 216 | 0
60 | L.F. | 240 | 0
66 | L.F. | 264 | 0
72 | L.F. | 360 | 0
78 | L.F. | 390 | 0
84 | L.F. | 420 | 0
90 | L.F. | 450 | 0
96 | L.F. | 480 | 0
102 | L.F. | 714 | 0
108 | L.F. | 756 | 0
120 | L.F. | 840 | 0
Flared End Sections
12 | EA | 710 | 0
18 | EA | 920 | 0
24 | EA | 970 | 0
30 | EA | 1570 | 0
36 | EA | 1610 | 0
42 | EA | 1700 | 0
48 | EA | 2060 | 0
Manholes and Inlets
Manhole, 4' Dia. (Pipe Dia. < 36"), Depth > 15-feet) | EA | 2900 | 0
Manhole, 5' Dia. (Pipe Dia. 36" - 42"), Depth > 15-feet) | EA | 3900 | 0
Manhole, 6' Dia. (Pipe Dia. , Depth > 15-feet) | EA | 4300 | 0
Type B Manhole (Pipe Dia. 48" and larger, deflection < 10 degrees) | EA | 12000 | 0
Type P Manhole (Pipe Dia. 48" and larger, deflection > 10 degrees) | EA | 15000 | 0
Storm Inlet, Type R/Type 14, 5-foot, 10-foot deep avg. | EA | 4600 | 0
Headwalls for Circular Pipes
See Headwall Table |  |  | See Headwall Table
Wingwalls for Circular Pipes
See Wingwall Table |  |  | See Wingwall Table
Box Culverts
See Box Culvert Table |  |  | See Box Culvert Table
Hydraulic Structures
Grouted Boulders, 36-inch | C.Y. | 190 | 0
Soil Riprap, Type M | C.Y. | 70 | 0
Excavation, Complete-in-Place | C.Y. | 11 | 0
Bedding, Granular Type II | C.Y. | 58 | 0
Grout | C.Y. | 240 | 0
Check Structure, Concrete | L.F. | 270 | 0
Channel Improvements
Boulder Edging, 12" High | L.F. | 60 | 0
Boulder Edging, 24" High | L.F. | 75 | 0
Boulder Edging, 36" High | L.F. | 90 | 0
Concrete Low Flow Channel | L.F. | 40 | 0
Grouted Boulders, 12" | S.Y. | 130 | 0
Grouted Boulders, 18" | S.Y. | 150 | 0
Grouted Boulders, 24" | S.Y. | 170 | 0
Grouted Boulders, 36" | S.Y. | 190 | 0
Grouted Boulders, 48" | S.Y. | 200 | 0
6-inch Riprap, Type VL | C.Y. | 45 | 0
9-inch Riprap, Type L | C.Y. | 55 | 0
12-inch Riprap, Type M | C.Y. | 60 | 0
18-inch Riprap, Type H | C.Y. | 80 | 0
24-inch Riprap, Type VH | C.Y. | 85 | 0
Soil Riprap, Type VL | C.Y. | 50 | 0
Soil Riprap, Type L | C.Y. | 60 | 0
Soil Riprap, Type M | C.Y. | 70 | 0
Soil Riprap, Type H | C.Y. | 80 | 0
Soil Riprap, Type VH | C.Y. | 90 | 0
Excavation, Low Range | C.Y. | 11 | 0
Excavation, Mid Range | C.Y. | 24 | 0
Excavation, High Range | C.Y. | 31 | 0
Detention/Water Quality Facilities
Excavation, Low Range | C.Y. | 11 | 0
Excavation, Mid Range | C.Y. | 24 | 0
Excavation, High Range | C.Y. | 31 | 0
Outlet Works | EA | User Defined | User Defined
Water Quality Appurtenances | EA | User Defined | User Defined
Detention (Complete-in-Place) | AC-FT | 45600 | 0
Landscaping and Recreation Improvements
Wetlands Plantings | ACRE | 25000 | 0
Reclamation & seeding (native grasses) | ACRE | 1000 | 0
Trail/Path, Concrete (10' Width) | L.F. | 44 | 0
Trail/Path, Crusher Fines (10' Width) | L.F. | 11 | 0
Removals
Removal of culvert pipe (D<48") | L.F. | 20 | 0
Removal of culvert pipe (48"<D<84") | L.F. | 50 | 0
Removal of culvert pipe (D>84") | L.F. | 75 | 0
Concrete Box Culvert | L.F./CELL | 100 | 0
Land Acquisition
Temporary Easements | EA | User Defined | User Defined
Easement/ROW Acquisition | ACRE | User Defined | User Defined
Concrete and Steel
Concrete | C.Y. | 600 | 0
Steel | LB. | 0.9 | 0
Operation and Maintenance
Culvert Maintenance | L.F. | 1 | 0
Manhole and Inlet Maintenance | EA | 50 | 0
Hydraulic Structure Maintenance | EA | 500 | 0
Channel Maintenance | L.F. | 2 | 0
Detention/WQ Maintenance | ACRE | 1500 | 0
Mowing | ACRE | 50 | 0
Trail Maintenance | L.F. | 5 | 0
Return to Intro

## Headwall Table
Headwalls for Pipe Culverts (CDOT M-601-10)
Worksheet Protected
| Single Pipe | Single Pipe |  | Double Pipe | Double Pipe
| Concrete | Steel | Single Unit | Concrete | Steel | Double Unit
Diameter (in) | (cy) | (lbs) | Cost | (cy) | (lbs) | Cost
54 | 2.12 | 209 | 0 | 3.55 | 364 | 0
60 | 2.35 | 236 | 0 | 3.99 | 414 | 0
66 | 2.6 | 249 | 0 | 4.44 | 453 | 0
72 | 2.85 | 270 | 0 | 4.91 | 476 | 0
78 | 3.11 | 306 | 0 | 5.29 | 527 | 0
84 | 3.38 | 333 | 0 | 5.68 | 572 | 0
90 | 3.66 | 335 | 0 | 6.08 | 593 | 0
96 | 3.94 | 379 | 0 | 6.48 | 649 | 0
102 | 4.24 | 400 | 0 | 6.89 | 664 | 0
108 | 4.54 | 424 | 0 | 7.3 | 707 | 0
120 | 4.84 | 448 | 0 | 7.71 | 750 | 0
Concrete Cost ($/cy) = | 0
Steel Cost ($/lb) = | 0
Notes :
1. 120-inch is an estimate based on ratio of concrete and steel increases with pipe size. CDOT does not have a standard detail for a 120-inch diameter pipe headwall.
2. For layouts with more than one pipe section (barrel) a multiple has been used of 0.67 for concrete and 0.73 for steel. See example below:
Example : | 3 x 60 inch RCP
Headwall Concrete for Single Pipe = 2.35 cy
Headwall Steel for Single Pipe = 236 lbs
Headwall Concrete for Triple Pipes = 2.35 cy + 2.35 cy x (0.67 x 2) = 5.50 cy
Concrete = Single Headwall Concrete + Single Headwall Concrete x (0.67 x Number of Barrels in Excess of 1)
Headwall Steel for Triple Pipes = 236 lbs + 236 lbs x (0.73 x 2) =580.56 lbs
Steel = Single Headwall Steel + Single Headwall Steel x (0.73 x Number of Barrels in Excess of 1)
Cost = 5.50 cy x $684/cy + 580.56 lbs x $0.80/lb = $4,226.52

## Wingwall Table
Wingwalls (CDOT M-601-20)
Worksheet Protected
Wingwall
Height | Concrete | Steel
(ft) | (cy/lf) | (lbs/lf)
2 | 0.161 | 8
3 | 0.21 | 9.3
4 | 0.259 | 10.7
5 | 0.308 | 12.1
6 | 0.358 | 14.3
7 | 0.407 | 16.4
8 | 0.457 | 23
9 | 0.506 | 28.6
10 | 0.556 | 41.8
11 | 0.604 | 54.6
Concrete Cost ($/cy) = | 0
Steel Cost ($/lb) = | 0

## Box Culvert Table
Box Culvert (CDOT M-601-1) | [10 empty] | Headwall/Toewall (CDOT M-601-2)
Worksheet Protected
Span | Cost $/LF | [11 empty] | Notes: | Concrete quantity estimated as 0.085 CY/LF per standard detail.
(feet) | Rise (feet) | [9 empty] | Span | Steel |  | Weight of steel for span of 4 feet was linearly extrapolated.
| 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  | (feet) | (lbs/lf)
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 4 | 18.9
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 6 | 22.1
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 8 | 22.5
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10 | 28.2
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 12 | 27.6
9 | ERROR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 14 | 34
10 | ERROR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 16 | 32.3
11 | ERROR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 18 | 39
12 | ERROR | ERROR | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 20 | 38.6
13 | ERROR | ERROR | ERROR | ERROR | 0 | 0 | 0 | 0 | 0
14 | ERROR | ERROR | ERROR | ERROR | 0 | 0 | 0 | 0 | 0
15 | ERROR | ERROR | ERROR | ERROR | 0 | 0 | 0 | 0 | 0
16 | ERROR | ERROR | ERROR | ERROR | 0 | 0 | 0 | 0 | 0
17 | ERROR | ERROR | ERROR | ERROR | ERROR | ERROR | 0 | 0 | 0
18 | ERROR | ERROR | ERROR | ERROR | ERROR | ERROR | 0 | 0 | 0
19 | ERROR | ERROR | ERROR | ERROR | ERROR | ERROR | 0 | 0 | 0
20 | ERROR | ERROR | ERROR | ERROR | ERROR | ERROR | 0 | 0 | 0
Expanded Table
[19 empty] | ` |  |  | ` |  |  | `
Span | RISE
(feet) | concrete | steel | 2' | concrete | steel | 3' | concrete | steel | 4' | concrete | steel | 5' | concrete | steel | 6' | concrete | steel | 7' | concrete | steel | 8' | concrete | steel | 9' | concrete | steel | 10'
4 | 0.473 | 95 | 0 | 0.48354 | 96.7078 | 0 | 0.54527 | 109.0535 | 0
5 | 0.535 | 107 | 0 | 0.597 | 119 | 0 | 0.658 | 132 | 0 | 0.72 | 144 | 0
6 | 0.597 | 119 | 0 | 0.658 | 132 | 0 | 0.72 | 144 | 0 | 0.782 | 156 | 0 | 0.808 | 154.5 | 0 | 0.834 | 153 | 0
7 | 0.658 | 132 | 0 | 0.72 | 144 | 0 | 0.782 | 156 | 0 | 0.844 | 169 | 0 | 0.884 | 173.75 | 0 | 0.924 | 178.5 | 0
8 | 0.72 | 144 | 0 | 0.782 | 156 | 0 | 0.844 | 169 | 0 | 0.898 | 176.5 | 0 | 0.952 | 184 | 0 | 1.014 | 204 | 0 | 1.076 | 224 | 0 | 1.145 | 238.5 | 0 | 1.214 | 253 | 0
9 |  |  |  | 0.844 | 169 | 0 | 0.905 | 181 | 0 | 0.98575 | 197.25 | 0 | 1.0665 | 213.5 | 0 | 1.1282 | 229.25 | 0 | 1.19 | 245 | 0 | 1.2597 | 253.25 | 0 | 1.3295 | 261.5 | 0
10 |  |  |  | 0.905 | 181 | 0 | 0.967 | 193 | 0 | 1.074 | 218 | 0 | 1.181 | 243 | 0 | 1.2425 | 254.5 | 0 | 1.304 | 266 | 0 | 1.3745 | 268 | 0 | 1.445 | 270 | 0
11 |  |  |  | 0.967 | 193 | 0 | 1.029 | 206 | 0 | 1.145 | 240.25 | 0 | 1.261 | 274.5 | 0 | 1.3225 | 291.5 | 0 | 1.384 | 308.5 | 0 | 1.4607 | 311.75 | 0 | 1.5375 | 315 | 0
12 | [6 empty] | 1.091 | 218 | 0 | 1.216 | 262 | 0 | 1.341 | 306 | 0 | 1.4025 | 328.5 | 0 | 1.464 | 351 | 0 | 1.547 | 355.5 | 0 | 1.63 | 360 | 0
13 | [12 empty] | 1.4845 | 346 | 0 | 1.546 | 363.25 | 0 | 1.6075 | 380.5 | 0 | 1.686 | 390 | 0 | 1.7645 | 399.5 | 0
14 | [12 empty] | 1.628 | 386 | 0 | 1.6895 | 398 | 0 | 1.751 | 410 | 0 | 1.825 | 424.5 | 0 | 1.899 | 439 | 0
15 | [12 empty] | 1.8425 | 424.5 | 0 | 1.9062 | 445.25 | 0 | 1.97 | 466 | 0 | 2.06 | 471.5 | 0 | 2.15 | 477 | 0
16 | [12 empty] | 2.057 | 463 | 0 | 2.123 | 492.5 | 0 | 2.189 | 522 | 0 | 2.295 | 518.5 | 0 | 2.401 | 515 | 0
17 | [18 empty] | 2.376 | 543.5 | 0 | 2.4728 | 549.75 | 0 | 2.5695 | 556 | 0
18 | [18 empty] | 2.563 | 565 | 0 | 2.6505 | 581 | 0 | 2.738 | 597 | 0
19 | [18 empty] | 2.868 | 646 | 0 | 2.9333 | 670.25 | 0 | 2.9985 | 694.5 | 0
20 | [18 empty] | 3.173 | 727 | 0 | 3.216 | 759.5 | 0 | 3.259 | 792 | 0
Concrete Cost ($/cy) = | 0
Steel Cost ($/lb) = | 0
Uses CDOT M-601-1 Single Concrete Box Culvert
Assumes 8 feet of cover
Assumes 10" wall thickness and 200 lb steel per cubic yard for small box culverts
Available Box Sizes - For Data Validation
Span | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Rise | 2 | 2 | 2 | 2 | 2
|  | 3 | 3 | 3 | 3 | 3 | 3 | 3
|  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
|  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
|  | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
|  | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
|  | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
|  | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9
|  | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10

## Reach Inputs (hidden)
RowCount | ReachID | DrainName | DrainAbbrev | ReachNumber | Jurisdiction |  |  | Capital $ | Easement/ROW $ | Engineering $ | Legal/Admin $ | Admin/CM $ | Contingency $ | Total Capital $ | Annual O&M $ | 50-Yr O&M $
[7 empty] | User Input Values | [9 empty] | Worksheet Protected
[6 empty] | Abbreviation | Gulch
[6 empty] | Jurisdiction | Town
[6 empty] | ReachNumber | 2
[6 empty] | NewReachID | Gulch-Reach2
[6 empty] | Validation | 0
[6 empty] | DeleteReachID | Gulch-Reach2
[6 empty] | DeleteRow | #N/A

## Cost Sheet Template (hidden)
MASTER PLAN COST ESTIMATE FOR INDIVIDUAL REACH
Worksheet Protected
PROJECT : | Enter Project Name on Project Info Tab
DRAINAGEWAY : | #N/A
REACH :
JURISDICTION :
REACH ID: |  |  |  |  | ESTIMATED BY : | Enter Estimator Name on Project Info Tab. |  |  | DATE : | Enter Date on Project Info Tab.
TOTAL
DESCRIPTION |  |  | SUPPORTING DATA (USER DEFINED AND CALCULATED) |  |  |  | QUANTITY | UNIT | UNIT COST | COST | USER COMMENTS
Pipe Culverts and Storm Drains | [9 empty] | 0 |  | Calculated Tabular Data and Supporting Calculations
Circular Pipes | [9 empty] | 0
Diameter (in) | Length (ft) | No. of Barrels | [7 empty] | 0
|  |  | Note : Prices reflect circular reinforced concrete pipe. For arch or elliptical pipes, user shall use equivalent circular pipe diameter. |  |  |  | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
[7 empty] | 0 | L.F. | 0 | 0
Flare End Sections | [9 empty] | 0
Diameter (in) | Applicable | No. of Barrels | U/S FES | D/S FES | [5 empty] | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
| No | [5 empty] | 0 | EA | 0 | 0
Headwalls | [9 empty] | 0 |  | Concrete | Concrete | Steel | Steel
Diameter (in) | Applicable | No. of Barrels | U/S Headwall | D/S Headwall | Concrete (C.Y.) | Steel (lbs) |  |  |  | 0 |  | Double | Multiple | Double | Multiple
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
| No |  |  |  | 0 | 0 | 0 | EA | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A
Wingwalls (includes concrete apron) | [9 empty] | 0 | [6 empty] | Rounded Length
Diameter (in) |  | No. of Barrels | Interior Span (ft) | Length (ft) | Concrete (C.Y.) | Steel (lbs) |  |  |  | 0 |  | m (ft) | k (ft) | H (avg) (ft) | Des Height | Apron Area | L (calc 1) | L used | L2 | L3 | Apron Toe L
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
Manholes and Inlets | [9 empty] | 0
Manhole, 4' Dia. (Pipe Dia. < 36") | [7 empty] | EA | 0 | 0
Manhole, 5' Dia. (Pipe Dia. 36" - 42") | [7 empty] | EA | 0 | 0
Manhole, 6' Dia. (Pipe Dia. = 48") | [7 empty] | EA | 0 | 0
Type B Manhole (Pipe Dia. 48" and larger, deflection < 10 degrees) | [7 empty] | EA | 0 | 0
Type P Manhole (Pipe Dia. 48" and larger, deflection > 10 degrees) | [7 empty] | EA | 0 | 0
Storm Inlet, Type R/Type 14, 5-foot | [7 empty] | EA | 0 | 0
Concrete Box Culverts | [9 empty] | 0
Box Culvert Pipe | [9 empty] | 0
Individual Box Span (ft) | Box Height (ft) | No. of Barrels |  |  |  |  | Length (ft) |  |  | 0 |  | Unit Cost
[8 empty] | L.F. | 0 | 0 |  | 0
[8 empty] | L.F. | 0 | 0 |  | 0
[8 empty] | L.F. | 0 | 0 |  | 0
[8 empty] | L.F. | 0 | 0 |  | 0
[8 empty] | L.F. | 0 | 0 |  | 0
[8 empty] | L.F. | 0 | 0 |  | 0
[8 empty] | L.F. | 0 | 0 |  | 0
[8 empty] | L.F. | 0 | 0 |  | 0
[8 empty] | L.F. | 0 | 0 |  | 0
[8 empty] | L.F. | 0 | 0 |  | 0
Headwall and Toewalls | [9 empty] | 0
Individual Box Span (ft) | No. of Barrels | Total Span (ft) | Concrete (C.Y.) | Steel (lbs) | U/S Headwall | D/S Headwall |  |  |  | 0
|  | 0 | 0 | 0 |  |  | 0 | EA | 0 | 0
|  | 0 | 0 | 0 |  |  | 0 | EA | 0 | 0
|  | 0 | 0 | 0 |  |  | 0 | EA | 0 | 0
|  | 0 | 0 | 0 |  |  | 0 | EA | 0 | 0
|  | 0 | 0 | 0 |  |  | 0 | EA | 0 | 0
|  | 0 | 0 | 0 |  |  | 0 | EA | 0 | 0
|  | 0 | 0 | 0 |  |  | 0 | EA | 0 | 0
|  | 0 | 0 | 0 |  |  | 0 | EA | 0 | 0
|  | 0 | 0 | 0 |  |  | 0 | EA | 0 | 0
|  | 0 | 0 | 0 |  |  | 0 | EA | 0 | 0
Wingwalls (includes wingwalls on either side of channel and concrete apron) | [9 empty] | 0 | [6 empty] | Rounded Length
Individual Box Span (ft) | Box Rise (ft) | No. of Barrels | Total Interior Span (ft) | Length (ft) | Concrete (C.Y.) | Steel (lbs) |  |  |  | 0 |  | m (ft) | k (ft) | H (avg) (ft) | Des Height | Apron Area | L (calc 1) | L used | L2 | L3 | Apron Toe L
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | EA | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0
Hydraulic Structures | [9 empty] | 0
Sloping Drop Structures | [9 empty] | 0 |  | Boulders | Sill Length | Soil Riprap | Grout | Bedding | Excavation
Height (ft) | Bottom Width (ft) | Yn (ft) |  | La (ft) | Hard Basin Length (ft) | Total Width (ft) |  |  |  | 0 |  | (cy) | (ft) | (cy) | (cy) | (cy) | (cy)
|  |  |  | 0 | 0 | 0 |  | EA | 0 | 0 |  | 0 | 10 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 |  | EA | 0 | 0 |  | 0 | 10 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 |  | EA | 0 | 0 |  | 0 | 10 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 |  | EA | 0 | 0 |  | 0 | 10 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 |  | EA | 0 | 0 |  | 0 | 10 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 |  | EA | 0 | 0 |  | 0 | 10 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 |  | EA | 0 | 0 |  | 0 | 10 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 |  | EA | 0 | 0 |  | 0 | 10 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 |  | EA | 0 | 0 |  | 0 | 10 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 |  | EA | 0 | 0 |  | 0 | 10 | 0 | 0 | 0 | 0
Check Structures | [9 empty] | 0
Check Structure, Concrete | [7 empty] | L.F. | 0 | 0
Channel Improvements | [9 empty] | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
Detention/Water Quality Facilities | [9 empty] | 0
Detention (Complete-in-Place) | [9 empty] | 0
Detention Facility 1 (Complete-in-Place) | [7 empty] | AC-FT | 0 | 0
Detention Facility 2 (Complete-in-Place) | [7 empty] | AC-FT | 0 | 0
Detention Facility 3 (Complete-in-Place) | [7 empty] | AC-FT | 0 | 0
Detention (User Entered Quantities) | [9 empty] | 0
Excavation, Low Range | [7 empty] | C.Y. | 0 | 0
Excavation, Mid Range | [7 empty] | C.Y. | 0 | 0
Excavation, High Range | [7 empty] | C.Y. | 0 | 0
Outlet Works | [5 empty] | User Defined Unit Cost ----> |  | EA |  | 0
Water Quality Appurtenances | [5 empty] | User Defined Unit Cost ----> |  | EA |  | 0
Removals | [9 empty] | 0
Removal of culvert pipe (D<48") | [7 empty] | L.F. | 0 | 0
Removal of culvert pipe (48"<D<84") | [7 empty] | L.F. | 0 | 0
Removal of culvert pipe (D>84") | [7 empty] | L.F. | 0 | 0
Concrete Box Culvert | [7 empty] | L.F./CELL | 0 | 0
Landscaping and Maintenance Improvements | [9 empty] | 0
Wetlands Plantings | [7 empty] | ACRE | 0 | 0
Reclamation & seeding (native grasses) | [7 empty] | ACRE | 0 | 0
Trail/Path, Concrete (10' Width) | [7 empty] | L.F. | 0 | 0
Trail/Path, Crusher Fines (10' Width) | [7 empty] | L.F. | 0 | 0
Special Items (User Defined) | [9 empty] | 0
| <----User Defined Items |  |  |  |  | User Defined Unit Cost ----> |  |  |  | 0
| <----User Defined Items |  |  |  |  | User Defined Unit Cost ----> |  |  |  | 0
| <----User Defined Items |  |  |  |  | User Defined Unit Cost ----> |  |  |  | 0
| <----User Defined Items |  |  |  |  | User Defined Unit Cost ----> |  |  |  | 0
| <----User Defined Items |  |  |  |  | User Defined Unit Cost ----> |  |  |  | 0
| <----User Defined Items |  |  |  |  | User Defined Unit Cost ----> |  |  |  | 0
| <----User Defined Items |  |  |  |  | User Defined Unit Cost ----> |  |  |  | 0
| <----User Defined Items |  |  |  |  | User Defined Unit Cost ----> |  |  |  | 0
| <----User Defined Items |  |  |  |  | User Defined Unit Cost ----> |  |  |  | 0
| <----User Defined Items |  |  |  |  | User Defined Unit Cost ----> |  |  |  | 0
Land Acquisition | [9 empty] | 0
Temporary Easements | [7 empty] | EA |  | 0
Easement/ROW Acquisition | [7 empty] | ACRE |  | 0
Master Plan Capital Improvement Cost Summary
Capital Improvement Costs
Pipe Culverts and Storm Drains | [9 empty] | 0
Concrete Box Culverts | [9 empty] | 0
Hydraulic Structures | [9 empty] | 0
Channel Improvements | [9 empty] | 0
Detention/Water Quality Facilities | [9 empty] | 0
Removals | [9 empty] | 0
Landscaping and Maintenance Improvements | [9 empty] | 0
Special Items (User Defined) | [9 empty] | 0
Subtotal Capital Improvement Costs | [9 empty] | 0
Additional Capital Improvement Costs
Dewatering | [5 empty] | User Defined Lump Sum Cost ----> |  | L.S. |  | 0
Mobilization | [6 empty] | 5% |  |  | 0
Traffic Control | [5 empty] | User Defined Lump Sum Cost ----> |  | L.S. |  | 0
Utility Coordination/Relocation | [5 empty] | User Defined Lump Sum Cost ----> |  | L.S. |  | 0
Stormwater Management/Erosion Control | [6 empty] | 5% |  |  | 0
Subtotal Additional Capital Improvement Costs | [9 empty] | 0
Land Acquisition Costs
ROW/Easements | [9 empty] | 0
Subtotal Land Acquisition Costs | [9 empty] | 0
Other Costs (percentage of Capital Improvement Costs)
Engineering | [6 empty] | 15% |  |  | 0
Legal/Administrative | [6 empty] | 5% |  |  | 0
Contract Admin/Construction Management | [6 empty] | 10% |  |  | 0
Contingency | [6 empty] | 25% |  |  | 0
Subtotal Other Costs | [9 empty] | 0
Total Capital Improvement Costs | [9 empty] | 0
0
Master Plan Operation and Maintenance Cost Summary | [9 empty] | 0
Description | [5 empty] | Frequency | Quantity | Unit | Unit Cost | Total Annual Cost
Culvert Maintenance (e.g. sediment & debris removal, erosion at entrance/exit, structural repairs, etc.) |  |  |  |  | Optional User Defined Unit Cost ----> |  |  | L.F. | 0 | 0
Manhole and Inlet Maintenance (e.g. sediment & debris removal, structural repairs, etc.) |  |  |  |  | Optional User Defined Unit Cost ----> |  |  | EA | 0 | 0
Hydraulic Structure Maintenance (e.g. debris removal, erosion, structural repairs, etc.) |  |  |  |  | Optional User Defined Unit Cost ----> |  |  | EA | 0 | 0
Channel Maintenance (e.g. sediment & debris removal, erosion, tree & weed removal, etc.) |  |  |  |  | Optional User Defined Unit Cost ----> |  |  | L.F. | 0 | 0
Detention/WQ Maintenance (e.g. sediment & debris removal, mucking out, tree & weed removal, structural repairs, etc.) |  |  |  |  | Optional User Defined Unit Cost ----> |  |  | ACRE | 0 | 0
Mowing (e.g. channels, ponds, etc.) |  |  |  |  | Optional User Defined Unit Cost ----> |  |  | ACRE | 0 | 0
Trail Maintenance (e.g. structural repairs, crusher fines, etc.) |  |  |  |  | Optional User Defined Unit Cost ----> |  |  | L.F. | 0 | 0
| <----User Defined Items |  |  |  | User Defined Unit Cost ----> |  |  |  |  | 0
| <----User Defined Items |  |  |  | User Defined Unit Cost ----> |  |  |  |  | 0
| <----User Defined Items |  |  |  | User Defined Unit Cost ----> |  |  |  |  | 0
| <----User Defined Items |  |  |  | User Defined Unit Cost ----> |  |  |  |  | 0
| <----User Defined Items |  |  |  | User Defined Unit Cost ----> |  |  |  |  | 0
| <----User Defined Items |  |  |  | User Defined Unit Cost ----> |  |  |  |  | 0
| <----User Defined Items |  |  |  | User Defined Unit Cost ----> |  |  |  |  | 0
| <----User Defined Items |  |  |  | User Defined Unit Cost ----> |  |  |  |  | 0
| <----User Defined Items |  |  |  | User Defined Unit Cost ----> |  |  |  |  | 0
| <----User Defined Items |  |  |  | User Defined Unit Cost ----> |  |  |  |  | 0
Total Annual Operation and Maintenance Cost | [9 empty] | 0
Effective Interest Rate | [9 empty] | 0%
Total Operation and Maintenance Costs Over 50 Years | [9 empty] | 0
Summary for Tabulation (Does Not Print)
Capital Improvement Costs | [9 empty] | 0
ROW/Easements | [9 empty] | 0
Engineering | [9 empty] | 0
Legal/Administrative | [9 empty] | 0
Contract Admin/Construction Management | [9 empty] | 0
Contingency | [9 empty] | 0
Total Capital Improvement Costs | [9 empty] | 0
Total Annual Operation and Maintenance Cost | [9 empty] | 0
Total Operation and Maintenance Costs Over 50 Years | [9 empty] | 0
Note on D147: Normal Depth at upstream end of drop structure.
Note on I147: Quantity entered is total number of drops with the same dimensions and drop height.
Note on H252: Frequency is the number of times the maintenance will take place each year. For maintenance that only occurs every few years, a decimal value can be used.
Note on K253: Default value can be overriden by user
Note on K254: Default value can be overriden by user
Note on K255: Default value can be overriden by user
Note on K256: Default value can be overriden by user
Note on K257: Default value can be overriden by user
Note on K258: Default value can be overriden by user
Note on K259: Default value can be overriden by user
Next Page
Return to Index
Filter Summary Sheet
Undo Filter
Reset
Previous